

**Power distribution Unit 1U for 19" Rack, 8x230V, 2m cable. switch, surge protection**

Appearance

Size: 19'' 1U

Shell: Aluminum-alloy Shell

Control: Switch

Input characteristics

Rated input voltage: 250VAC 50/60Hz

Input standard: DIN49441

Power Cord: 2.0M (3x1.5mm2)

Max input current: 16A

Output characteristics

Socket standard: NFC61-314

Output quantity: 8

Rating output voltage: 250VAC 50/60Hz

Max output current: 16A